## Global
Property | Value
CO2 limit | 0
Cost limit | inf

## Site
Name | area | base-voltage | min-voltage | ref-node
Trafostation_OS
main_busbar
loadbus_1_1
loadbus_1_2
loadbus_1_3
loadbus_1_4
loadbus_1_5
loadbus_1_6
loadbus_1_7
loadbus_1_8
loadbus_1_9
loadbus_1_10
loadbus_1_11
loadbus_1_12
loadbus_1_13

## Commodity
Site | Commodity | Type | price | max | maxperhour
Trafostation_OS | electricity | Demand |  | inf | inf
Trafostation_OS | electricity_feed_in | Sell | 1 | inf | inf
Trafostation_OS | electricity_import | Buy | 1 | inf | inf
main_busbar | electricity | Demand |  | inf | inf
loadbus_1_1 | electricity | Demand
loadbus_1_1 | space_heat | Demand
loadbus_1_1 | water_heat | Demand
loadbus_1_1 | mobility | Demand
loadbus_1_1 | natural_gas | Stock | 0,06 | inf | inf
loadbus_1_1 | common_heat | Stock | 0 | 0 | 0
loadbus_1_1 | solar | SupIm
loadbus_1_1 | co2 | Env | 0 | inf | inf
loadbus_1_2 | electricity | Demand
loadbus_1_2 | space_heat | Demand
loadbus_1_2 | water_heat | Demand
loadbus_1_2 | mobility | Demand
loadbus_1_2 | natural_gas | Stock | 0,06 | inf | inf
loadbus_1_2 | common_heat | Stock | 0 | 0 | 0
loadbus_1_2 | solar | SupIm
loadbus_1_2 | co2 | Env | 0 | inf | inf
loadbus_1_3 | electricity | Demand
loadbus_1_3 | space_heat | Demand
loadbus_1_3 | water_heat | Demand
loadbus_1_3 | mobility | Demand
loadbus_1_3 | natural_gas | Stock | 0,06 | inf | inf
loadbus_1_3 | common_heat | Stock | 0 | 0 | 0
loadbus_1_3 | solar | SupIm
loadbus_1_3 | co2 | Env | 0 | inf | inf
loadbus_1_4 | electricity | Demand
loadbus_1_4 | space_heat | Demand
loadbus_1_4 | water_heat | Demand
loadbus_1_4 | mobility | Demand
loadbus_1_4 | natural_gas | Stock | 0,06 | inf | inf
loadbus_1_4 | common_heat | Stock | 0 | 0 | 0
loadbus_1_4 | solar | SupIm
loadbus_1_4 | co2 | Env | 0 | inf | inf
loadbus_1_5 | electricity | Demand
loadbus_1_5 | space_heat | Demand
loadbus_1_5 | water_heat | Demand
loadbus_1_5 | mobility | Demand
loadbus_1_5 | natural_gas | Stock | 0,06 | inf | inf
loadbus_1_5 | common_heat | Stock | 0 | 0 | 0
loadbus_1_5 | solar | SupIm
loadbus_1_5 | co2 | Env | 0 | inf | inf
loadbus_1_6 | electricity | Demand
loadbus_1_6 | space_heat | Demand
loadbus_1_6 | water_heat | Demand
loadbus_1_6 | natural_gas | Stock | 0,06 | inf | inf
loadbus_1_6 | common_heat | Stock | 0 | 0 | 0
loadbus_1_6 | solar | SupIm
loadbus_1_6 | co2 | Env | 0 | inf | inf
loadbus_1_7 | electricity | Demand
loadbus_1_7 | space_heat | Demand
loadbus_1_7 | water_heat | Demand
loadbus_1_7 | mobility | Demand
loadbus_1_7 | natural_gas | Stock | 0,06 | inf | inf
loadbus_1_7 | common_heat | Stock | 0 | 0 | 0
loadbus_1_7 | solar | SupIm
loadbus_1_7 | co2 | Env | 0 | inf | inf
loadbus_1_8 | electricity | Demand
loadbus_1_8 | space_heat | Demand
loadbus_1_8 | water_heat | Demand
loadbus_1_8 | mobility | Demand
loadbus_1_8 | natural_gas | Stock | 0,06 | inf | inf
loadbus_1_8 | common_heat | Stock | 0 | 0 | 0
loadbus_1_8 | solar | SupIm
loadbus_1_8 | co2 | Env | 0 | inf | inf
loadbus_1_9 | electricity | Demand
loadbus_1_9 | space_heat | Demand
loadbus_1_9 | water_heat | Demand
loadbus_1_9 | mobility | Demand
loadbus_1_9 | natural_gas | Stock | 0,06 | inf | inf
loadbus_1_9 | common_heat | Stock | 0 | 0 | 0
loadbus_1_9 | solar | SupIm
loadbus_1_9 | co2 | Env | 0 | inf | inf
loadbus_1_10 | space_heat | Demand
loadbus_1_10 | water_heat | Demand
loadbus_1_10 | mobility | Demand
loadbus_1_10 | natural_gas | Stock | 0,06 | inf | inf
loadbus_1_10 | common_heat | Stock | 0 | 0 | 0
loadbus_1_10 | solar | SupIm
loadbus_1_10 | co2 | Env | 0 | inf | inf
loadbus_1_11 | electricity | Demand
loadbus_1_11 | space_heat | Demand
loadbus_1_11 | water_heat | Demand
loadbus_1_11 | mobility | Demand
loadbus_1_11 | natural_gas | Stock | 0,06 | inf | inf
loadbus_1_11 | solar | SupIm
loadbus_1_11 | co2 | Env | 0 | inf | inf
loadbus_1_12 | electricity | Demand
loadbus_1_12 | space_heat | Demand
loadbus_1_12 | water_heat | Demand
loadbus_1_12 | mobility | Demand
loadbus_1_12 | natural_gas | Stock | 0,06 | inf | inf
loadbus_1_12 | common_heat | Stock | 0 | 0 | 0
loadbus_1_12 | solar | SupIm
loadbus_1_12 | co2 | Env | 0 | inf | inf
loadbus_1_13 | electricity | Demand
loadbus_1_13 | space_heat | Demand
loadbus_1_13 | water_heat | Demand
loadbus_1_13 | mobility | Demand
loadbus_1_13 | natural_gas | Stock | 0,06 | inf | inf
loadbus_1_13 | common_heat | Stock | 0 | 0 | 0
loadbus_1_13 | solar | SupIm
loadbus_1_13 | co2 | Env | 0 | inf | inf

## Process
Site | Process | inst-cap | cap-lo | cap-up | max-grad | ramp-down-grad | min-fraction | inv-cost | fix-cost | var-cost | wacc | depreciation | area-per-cap | cap-block | start-price | on-off | pf-min
Trafostation_OS | import | 0 | 0 | inf | inf | 0 | 0 | 0 | 0 | 0 | 0.07 | 30
Trafostation_OS | feed_in | 0 | 0 | inf | inf | 0 | 0 | 0 | 0 | 0 | 0.07 | 30
Trafostation_OS | Slack | 0 | 0 | inf | inf | 0 | 0 | 0 | 0 | 0 | 0.07 | 30
loadbus_1_1 | rooftop_pv
loadbus_1_1 | gas_boiler
loadbus_1_1 | heat_dummy_space
loadbus_1_1 | heat_dummpy_water
loadbus_1_1 | heatpump_air
loadbus_1_1 | charging_station | 55 |  | 55
loadbus_1_1 | curtailment
loadbus_1_2 | rooftop_pv
loadbus_1_2 | gas_boiler
loadbus_1_2 | heat_dummy_space
loadbus_1_2 | heat_dummpy_water
loadbus_1_2 | heatpump_air
loadbus_1_2 | charging_station | 11 |  | 11
loadbus_1_2 | curtailment
loadbus_1_3 | rooftop_pv
loadbus_1_3 | gas_boiler
loadbus_1_3 | heat_dummy_space
loadbus_1_3 | heat_dummpy_water
loadbus_1_3 | heatpump_air
loadbus_1_3 | charging_station | 22 |  | 22
loadbus_1_3 | curtailment
loadbus_1_4 | gas_boiler
loadbus_1_4 | heat_dummy_space
loadbus_1_4 | heat_dummpy_water
loadbus_1_4 | heatpump_air
loadbus_1_4 | charging_station | 77 |  | 77
loadbus_1_4 | curtailment
loadbus_1_5 | gas_boiler
loadbus_1_5 | heat_dummy_space
loadbus_1_5 | heat_dummpy_water
loadbus_1_5 | heatpump_air
loadbus_1_5 | charging_station | 33 |  | 33
loadbus_1_5 | curtailment
loadbus_1_6 | gas_boiler
loadbus_1_6 | heat_dummy_space
loadbus_1_6 | heat_dummpy_water
loadbus_1_6 | heatpump_air
loadbus_1_6 | charging_station | 22 |  | 22
loadbus_1_6 | curtailment
loadbus_1_7 | gas_boiler
loadbus_1_7 | heat_dummy_space
loadbus_1_7 | heat_dummpy_water
loadbus_1_7 | heatpump_air
loadbus_1_7 | charging_station | 22 |  | 22
loadbus_1_7 | curtailment
loadbus_1_8 | rooftop_pv
loadbus_1_8 | gas_boiler
loadbus_1_8 | heat_dummy_space
loadbus_1_8 | heat_dummpy_water
loadbus_1_8 | heatpump_air
loadbus_1_8 | charging_station | 22 |  | 22
loadbus_1_8 | curtailment
loadbus_1_9 | rooftop_pv
loadbus_1_9 | gas_boiler
loadbus_1_9 | heat_dummy_space
loadbus_1_9 | heat_dummpy_water
loadbus_1_9 | heatpump_air
loadbus_1_9 | charging_station | 22 |  | 22
loadbus_1_9 | curtailment
loadbus_1_10 | rooftop_pv
loadbus_1_10 | gas_boiler
loadbus_1_10 | heat_dummy_space
loadbus_1_10 | heat_dummpy_water
loadbus_1_10 | heatpump_air
loadbus_1_10 | charging_station | 22 |  | 22
loadbus_1_10 | curtailment
loadbus_1_11 | rooftop_pv
loadbus_1_11 | gas_boiler
loadbus_1_11 | heat_dummy_space
loadbus_1_11 | heat_dummpy_water
loadbus_1_11 | heatpump_air
loadbus_1_11 | charging_station | 33 |  | 33
loadbus_1_11 | curtailment
loadbus_1_12 | rooftop_pv
loadbus_1_12 | gas_boiler
loadbus_1_12 | heat_dummy_space
loadbus_1_12 | heat_dummpy_water
loadbus_1_12 | heatpump_air
loadbus_1_12 | charging_station | 11 |  | 11
loadbus_1_12 | curtailment
loadbus_1_13 | rooftop_pv
loadbus_1_13 | gas_boiler
loadbus_1_13 | heat_dummy_space
loadbus_1_13 | heat_dummpy_water
loadbus_1_13 | heatpump_air
loadbus_1_13 | charging_station | 44 |  | 44
loadbus_1_13 | curtailment

## Process-Commodity
Process | Commodity | Direction | ratio | ratio-min
import | electricity_import | In | 1
import | electricity | Out | 1
feed_in | electricity | In | 1
feed_in | electricity_feed_in | Out | 1
Slack | electricity | Out | 1
Slack | electricity | In | 0
Rooftop PV | solar | In | 1
Rooftop PV | electricity | Out | 1
Gas boiler | natural_gas | In | 1
Gas boiler | common_heat | Out | 1
Gas boiler | CO2 | Out | 0,2
Heat_dummy_space | common_heat | In | 1
Heat_dummy_space | space_heat | Out | 1
Heat_dummy_water | common_heat | In | 1
Heat_dummy_water | water_heat | Out | 1
heatpump_air | electricity | In | 1
heatpump_air | common_heat | Out | 1
charging_station | electricity | In | 1
charging_station | mobility | Out | 1
curtailment | electricity | In | 1

## Transmission
Site In | Site Out | Transmission | Commodity | eff | inv-cost | fix-cost | var-cost | inst-cap | cap-lo | cap-up | wacc | depreciation | reactance | difflimit | base_voltage | tra-block
Trafostation_OS | main_busbar | trafo | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
Trafostation_OS | main_busbar | new_trafo_160 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
Trafostation_OS | main_busbar | new_trafo_250 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
Trafostation_OS | main_busbar | new_trafo_400 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
Trafostation_OS | main_busbar | new_trafo_630 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
main_busbar | Trafostation_OS | trafo | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
main_busbar | Trafostation_OS | new_trafo_160 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
main_busbar | Trafostation_OS | new_trafo_250 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
main_busbar | Trafostation_OS | new_trafo_400 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
main_busbar | Trafostation_OS | new_trafo_630 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
main_busbar | loadbus_1_1 | line_1_1 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_1 | main_busbar | line_1_1 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_1 | loadbus_1_2 | line_1_2 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_2 | loadbus_1_1 | line_1_2 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_2 | loadbus_1_3 | line_1_3 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_3 | loadbus_1_2 | line_1_3 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_3 | loadbus_1_4 | line_1_4 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_4 | loadbus_1_3 | line_1_4 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_4 | loadbus_1_5 | line_1_5 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_5 | loadbus_1_4 | line_1_5 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_5 | loadbus_1_6 | line_1_6 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_6 | loadbus_1_5 | line_1_6 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_6 | loadbus_1_7 | line_1_7 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_7 | loadbus_1_6 | line_1_7 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_7 | loadbus_1_8 | line_1_8 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_8 | loadbus_1_7 | line_1_8 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_8 | loadbus_1_9 | line_1_9 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_9 | loadbus_1_8 | line_1_9 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_9 | loadbus_1_10 | line_1_10 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_10 | loadbus_1_9 | line_1_10 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_10 | loadbus_1_11 | line_1_11 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_11 | loadbus_1_10 | line_1_11 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_11 | loadbus_1_12 | line_1_12 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_12 | loadbus_1_11 | line_1_12 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_12 | loadbus_1_13 | line_1_13 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30
loadbus_1_13 | loadbus_1_12 | line_1_13 | electricity | 1 | 0 | 0 | 0 | 0 | 0 | inf | 0.07 | 30

## Storage
Site | Storage | Commodity | inst-cap-c | cap-lo-c | cap-up-c | inst-cap-p | cap-lo-p | cap-up-p | eff-in | eff-out | inv-cost-p | inv-cost-c | fix-cost-p | fix-cost-c | var-cost-p | var-cost-c | wacc | depreciation | init | discharge | ep-ratio | c-block | p-block
loadbus_1_1 | battery_private
loadbus_1_1 | thermochem_heat_storage
loadbus_1_1 | mobility_storage |  | 2.575 |  | 2.575
loadbus_1_2 | battery_private
loadbus_1_2 | thermochem_heat_storage
loadbus_1_2 | mobility_storage |  | 0.515 |  | 0.515
loadbus_1_3 | battery_private
loadbus_1_3 | thermochem_heat_storage
loadbus_1_3 | mobility_storage |  | 1.03 |  | 1.03
loadbus_1_4 | battery_private
loadbus_1_4 | thermochem_heat_storage
loadbus_1_4 | mobility_storage |  | 3.605 |  | 3.605
loadbus_1_5 | battery_private
loadbus_1_5 | thermochem_heat_storage
loadbus_1_5 | mobility_storage |  | 1.545 |  | 1.545
loadbus_1_6 | battery_private
loadbus_1_6 | thermochem_heat_storage
loadbus_1_6 | mobility_storage |  | 1.03 |  | 1.03
loadbus_1_7 | battery_private
loadbus_1_7 | thermochem_heat_storage
loadbus_1_7 | mobility_storage |  | 1.03 |  | 1.03
loadbus_1_8 | battery_private
loadbus_1_8 | thermochem_heat_storage
loadbus_1_8 | mobility_storage |  | 1.03 |  | 1.03
loadbus_1_9 | battery_private
loadbus_1_9 | thermochem_heat_storage
loadbus_1_9 | mobility_storage |  | 1.03 |  | 1.03
loadbus_1_10 | battery_private
loadbus_1_10 | thermochem_heat_storage
loadbus_1_10 | mobility_storage |  | 1.03 |  | 1.03
loadbus_1_11 | battery_private
loadbus_1_11 | thermochem_heat_storage
loadbus_1_11 | mobility_storage |  | 1.545 |  | 1.545
loadbus_1_12 | battery_private
loadbus_1_12 | thermochem_heat_storage
loadbus_1_12 | mobility_storage |  | 0.515 |  | 0.515
loadbus_1_13 | battery_private
loadbus_1_13 | thermochem_heat_storage
loadbus_1_13 | mobility_storage |  | 2.06 |  | 2.06